Fire Action Notice
	[image: image1.emf]
	On discovering a fire – 

Operate the nearest fire alarm call point 

A firm press will activate the fire alarm

The fire alarm will sound a continuous tone in the immediate area and an intermittent tone in all adjacent areas



	
	

	[image: image2.emf]
	Only attempt to fight the fire if it is safe to do so, and you are competent

	
	Do not use water on electrical or flammable liquid fires.

	
	

	[image: image3.emf]
	On hearing the fire alarm, leave the building by the nearest and safest available exit.

CLOSE all doors and windows as you leave. 

	
	DO NOT stop to collect belongings.

DO NOT use the lift.

DO NOT re-enter the building until instructed to do so 

	
	

	[image: image4.emf]
	Go immediately to the ASSEMBLY POINT 

The assembly point is at:

	
	

	[image: image5.png]



	Disabled people should be assisted along the evacuation route




Fire Notice Issue No.1





Safety Counts















At least 20 metres from the perimeter of the building








